## Taul1
Oy Keskuslaboratorio-Centrallaboratorium Ab | [8 empty] | Oy Keskuslaboratorio-Centrallaboratorium Ab
IR3 SERVICE - ORDER 2026 | [8 empty] | PRICE LIST 2026
KCL - Optical Calibration Laboratory is authorized by ISO/TC6 in accordance with the
provisions of ISO 4094 to maintain optical reference instruments and to issue ISO reference
Reference standards for calibration of brightness and color measuring instruments | [8 empty] | standards of level 3 (IR3) in accordance with ISO 2469.
[9 empty] | Product |  |  | Price, € (VAT 0%)
Customer: |  | Company/Mill
|  | Business ID/VAT | [6 empty] | 1. Non-fluorescent IR3 for photometric calibration |  |  | 278
|  | Delivery address | [7 empty] | Non-fluorescent paper pads as ISO reference standards of level 3 for
photometric calibration.
The calibration certificate includes:
Reflectance factors for wavelengths between 360 nm and 740 nm
|  | Invoicing address | [7 empty] | ISO Brightness, R457, C
Tristimulus values X, Y, Z (C/2°)
Reflectance factors Rx, Ry, Rz (C/2°)
[9 empty] | 2. Non-fluorescent IR3 for photometric calibration + Fluorescent IR3 for |  |  | 484
|  | Order number | [7 empty] | UV-adjustment
|  | Contact Person | [7 empty] | Reference standards of paper for photometric calibration and adjusting
|  | Tel. | [7 empty] | UV content of light of device.
|  | E-mail | [7 empty] | As an alternative to the fluorescent transfer standard made of paper,
calibration of the fluorescent plate supplied by the customer.
Continuity of the order (select with x): | [9 empty] | The calibration certificate of fluorescent IR3 includes:
CIE Whiteness (D65/10°)
| Continual |  | One-time |  | Periodical | Period: |  |  |  | ISO Brightness, R457, C
[9 empty] | 3. Calibration of non-fluorescent plate IR3 |  |  | 278
Delivery months (select with x): | [9 empty] | The customer purchases the tile and sends it to KCL for measurement.
The calibration certificate includes the same values as product 1.
| January |  | April |  | July | October | Total sum: |  | 4. Non fluorescent IR3 for photometric calibration and R950 (Eric) |  |  | 464
| FALSE |  | FALSE |  | FALSE | FALSE | 0 | € (VAT 0%) |  | Non-fluorescent paper pads as ISO reference standards of level 3 for
| February |  | May |  | August | November |  |  |  | photometric calibration.
| FALSE |  | FALSE |  | FALSE | FALSE | + Shipping costs |  |  | The calibration certificate includes the same values as product 1.
| March |  | June |  | September | December | 0 |  |  | The calibration certficate also includes the reflectance value R950
| FALSE |  | FALSE |  | FALSE | FALSE |  |  |  | for calibration required by method ISO 22754.
Select product (select with x or number if more than 1): | [9 empty] | Eric-value will be delivered as unauthorized.
Product | [7 empty] | Order | 5. Reference standard for photometric calibration of instruments with d/8° |  |  | 1164
1. Non fluorescent IR3 for photometric calibration | [8 empty] | geometry (measurement by subcontractor)
2. Non fluorescent IR3 for photometric calibration + Fluorescent IR3 for UV-adjustment | [9 empty] | Non-fluorescent paper pad is used as a reference standard for photometric
3. Calibration of non-fluorescent plate (IR3) | [9 empty] | calibration of instruments with d/8° geometry
4. Non fluorescent IR3 for photometric calibration and R950 (Eric) (Eric not authorized) | [9 empty] | The calibration certificate includes:
5. Reference standard for photometric calibration of instruments with d/8° geometry | [9 empty] | Reflectance factors for wavelengths between 360 nm and 740 nm
(measurement by subcontractor) | [9 empty] | ISO Brightness, R457, C
6. Calibration of non-fluorescent plate (d/8°) (measurement by subcontractor) | [9 empty] | Tristimulus values X, Y, Z (C/2°).
7. Cleaning of a plate | [8 empty] | 6. Non-fluorescent plate (d/8° geometry) (measurement by subcontractor) |  |  | 1164
8. Measuring certificate (define properties in Other information) | [9 empty] | The customer purchases the tile and sends it to KCL for subcontract
measurement.
The calibration certificate includes the same values as product 5.
Date |  |  |  | Signature |  |  |  |  | 7. Cleaning of a plate |  |  | 165
The plate sent by customer is cleaned.
The continual order is valid until further notice. The order can be changed or terminated two | [8 empty] | 8. Measuring certificate |  |  | 70
months before the next delivery month. The prices will be checked yearly. | [9 empty] | Other than properties defined in products 1 and 2
The order will be invoiced in the beginning of year concerning the whole year.
The shipping costs are 60-150 €/delivery. Minimun charge is 200 €. | [8 empty] | Other information:
The order will be invoiced in advance.
The invoice will be prepared as soon as the customer places an order. For invoicing purposes, the official name, invoicing address and business ID (company number or VAT number) of the customer are needed. Any taxes and fees imposed by foreign authorities and banks shall be paidby the customer, when applicable.
PLEASE RETURN THE ORDER:
minna.lehto@kcl.fi / heidi.kuha@kcl.fi